## blank mv brker
Green = Input
Equipment Information |  |  | Insulation Resistance (ohms)
Site ID |  |  | @Volts | A-B |  | B-C |  | C-A
Serial Number |  |  | 5000 |  | Giga |  | Giga |  | Giga
Equipment Location |  |  | @Volts | A-G |  | B-G |  | C-G
Manufacturer |  |  | 5000 |  | Giga |  | Giga |  | Giga
Type |  |  | @Volts | A-A' |  | B-B' |  | C-C'
Model |  |  | 5000 |  | Giga |  | Giga |  | Giga
Frame Rating
Mount Style |  |  | Contact Resistance (amps)
Control Voltage |  | Volts AC | @Amps | A-B |  | B-C |  | C-A
Trip Coil Voltage |  | Volts AC | 10 |  | micro |  | micro |  | micro
Tested By
Date Tested | 1000-01-01 |  | HiPot Testing (milliAmps)
|  |  | @Volts | A-B |  | B-C |  | C-A
15000
|  |  |  | A-G |  | B-G |  | C-G
|  |  |  | A-A' |  | B-B' |  | C-C'
Notes