## blank mv brker
Job: Datacore MV Startup
Green = Input
Equipment Information |  |  | Insulation Resistance (ohms)
Site ID | Utility Breaker 1 |  | @Volts | A-B |  | B-C |  | C-A
Serial Number | IOPXC324V9 |  | 1 | 1.01 | Tera | 1.2 | Mega | 1.3 | Kilo
Equipment Location | Utility Yard |  | @Volts | A-G |  | B-G |  | C-G
Manufacturer | Siemens |  | 2 | 1.4 | Giga | 1.5 | Giga | 1.5 | Giga
Type | Medium Voltage Vacuum Breaker |  | @Volts | A-A' |  | B-B' |  | C-C'
Model | GM-SG |  | 3 | 1.6 | Giga | 1.7 | Giga | 1.8 | Giga
Frame Rating | 1200
Mount Style | Draw Out |  | Contact Resistance (amps)
Control Voltage | 115 | Volts AC | @Amps | A-B |  | B-C |  | C-A
Trip Coil Voltage | 24 | Volts DC | 100 | 1.9 | milli | 2.01 | milli | 2.2 | micro
Tested By | sample testers
Date Tested | 2022-01-28 |  | HiPot Testing (milliAmps)
|  |  | @Volts | A-B |  | B-C |  | C-A
|  |  | 15000 | 0.01 |  | 0.02 |  | 0.03
|  |  |  | A-G |  | B-G |  | C-G
|  |  |  | 0.04 |  | 0.05 |  | 0.06
|  |  |  | A-A' |  | B-B' |  | C-C'
|  |  |  | 0.07 |  | 0.08 |  | 1.065